## Energy Demand
Before Retrofit | [5 empty] | Before Retrofit
Month | Heating Demand (MJ/month) | Cooling Demand (MJ/month) | DHW Demand (MJ/month) | Lighting Demand (MJ/month) | Appliances Demand (MJ/month) | Month | Heating Primary Energy Consumption (MJ/month) | Cooling Primary Energy Consumption (MJ/month) | DHW Primary Energy Consumption (MJ/month) | Lighting Primary Energy Consumption (MJ/month) | Appliances Primary Energy Consumption (MJ/month)
January | 56819.6834 | 0 | 1586.0592 | 1107.072 | 959.76 |  | 71024.6043 | 0 | 1982.574 | 3163.0629 | 2742.1714
February | 49806.5978 | 0 | 1432.5696 | 999.936 | 866.88 |  | 62258.2473 | 0 | 1790.712 | 2856.96 | 2476.8
March | 48713.2877 | 0 | 1554.96 | 1107.072 | 959.76 |  | 60891.6096 | 0 | 1943.7 | 3163.0629 | 2742.1714
April | 39572.1763 | 0 | 1444.608 | 1071.36 | 928.8 |  | 49465.2203 | 0 | 1805.76 | 3061.0286 | 2653.7143
May | 28356.7654 | 0 | 1430.5632 | 1107.072 | 959.76 |  | 35445.9567 | 0 | 1788.204 | 3163.0629 | 2742.1714
June | 16030.7337 | 0 | 1324.224 | 1071.36 | 928.8 |  | 20038.4172 | 0 | 1655.28 | 3061.0286 | 2653.7143
July | 8279.2571 | 0 | 1306.1664 | 1107.072 | 959.76 |  | 10349.0713 | 0 | 1632.708 | 3163.0629 | 2742.1714
August | 9487.9501 | 0 | 1337.2656 | 1107.072 | 959.76 |  | 11859.9376 | 0 | 1671.582 | 3163.0629 | 2742.1714
September | 18796.9556 | 0 | 1324.224 | 1071.36 | 928.8 |  | 23496.1945 | 0 | 1655.28 | 3061.0286 | 2653.7143
October | 32702.4413 | 0 | 1399.464 | 1107.072 | 959.76 |  | 40878.0516 | 0 | 1749.33 | 3163.0629 | 2742.1714
November | 44692.6315 | 0 | 1414.512 | 1071.36 | 928.8 |  | 55865.7894 | 0 | 1768.14 | 3061.0286 | 2653.7143
December | 54365.8507 | 0 | 1492.7616 | 1107.072 | 959.76 |  | 67957.3133 | 0 | 1865.952 | 3163.0629 | 2742.1714
Total | 407624.3307 | 0 | 17047.3776 | 13034.88 | 11300.4 | Total | 509530.4133 | 0 | 21309.222 | 37242.5143 | 32286.8571
After Retrofit | [5 empty] | After Retrofit
Month | Heating Demand (MJ/month) | Cooling Demand (MJ/month) | DHW Demand (MJ/month) | Lighting Demand (MJ/month) | Appliances Demand (MJ/month) | Month | Heating Primary Energy Consumption (MJ/month) | Cooling Primary Energy Consumption (MJ/month) | DHW Primary Energy Consumption (MJ/month) | Lighting Primary Energy Consumption (MJ/month) | Appliances Primary Energy Consumption (MJ/month)
January | 13198.8604 | 0 | 1586.0592 | 61.6032 | 753.579 |  | 9427.7575 | 0 | 1982.574 | 176.0091 | 2153.0829
February | 11212.4293 | 0 | 1432.5696 | 55.6416 | 680.652 |  | 8008.8781 | 0 | 1790.712 | 158.976 | 1944.72
March | 10284.1364 | 0 | 1554.96 | 61.6032 | 753.579 |  | 7345.8117 | 0 | 1943.7 | 176.0091 | 2153.0829
April | 7434.3917 | 0 | 1444.608 | 59.616 | 729.27 |  | 5310.2798 | 0 | 1805.76 | 170.3314 | 2083.6286
May | 3780.4325 | 0 | 1430.5632 | 61.6032 | 753.579 |  | 2700.3089 | 0 | 1788.204 | 176.0091 | 2153.0829
June | 673.3073 | 0 | 1324.224 | 59.616 | 729.27 |  | 480.9338 | 0 | 1655.28 | 170.3314 | 2083.6286
July | 0 | 0 | 1306.1664 | 61.6032 | 753.579 |  | 0 | 0 | 1632.708 | 176.0091 | 2153.0829
August | 0 | 0 | 1337.2656 | 61.6032 | 753.579 |  | 0 | 0 | 1671.582 | 176.0091 | 2153.0829
September | 2349.4012 | 0 | 1324.224 | 59.616 | 729.27 |  | 1678.1437 | 0 | 1655.28 | 170.3314 | 2083.6286
October | 6442.2133 | 0 | 1399.464 | 61.6032 | 753.579 |  | 4601.5809 | 0 | 1749.33 | 176.0091 | 2153.0829
November | 9991.7046 | 0 | 1414.512 | 59.616 | 729.27 |  | 7136.9319 | 0 | 1768.14 | 170.3314 | 2083.6286
December | 12618.1072 | 0 | 1492.7616 | 61.6032 | 753.579 |  | 9012.9337 | 0 | 1865.952 | 176.0091 | 2153.0829
Total | 77984.9839 | 0 | 17047.3776 | 725.328 | 8872.785 | Total | 55703.5599 | 0 | 21309.222 | 2072.3657 | 25350.8143
Month | Solar Collectors Generation (MJ/month) | Solar PV Generation (MJ/month)
January | 0 | 0
February | 0 | 0 |  | f_grid | 100%
March | 0 | 0 |  | f_pv | 0%
April | 0 | 0
May | 0 | 0
June | 0 | 0
July | 0 | 0
August | 0 | 0
September | 0 | 0
October | 0 | 0
November | 0 | 0
December | 0 | 0
Total | 0 | 0
[10 empty] | Demand | Heating | Cooling | DHW | Lighting | Appliances
[10 empty] | Before Retrofit | 407624.3307 | 0 | 17047.3776 | 13034.88 | 11300.4
[10 empty] | After Retrofit | 77984.9839 | 0 | 17047.3776 | 725.328 | 8872.785
[10 empty] | Consumption | Heating | Cooling | DHW | Lighting | Appliances
[10 empty] | Before Retrofit | 509530.4133 | 0 | 21309.222 | 37242.5143 | 32286.8571
[10 empty] | After Retrofit | 55703.5599 | 0 | 21309.222 | 2072.3657 | 25350.8143