## Energy Demand
Before Retrofit | [5 empty] | Before Retrofit
Month | Heating Demand (MJ/month) | Cooling Demand (MJ/month) | DHW Demand (MJ/month) | Lighting Demand (MJ/month) | Appliances Demand (MJ/month) | Month | Heating Primary Energy Consumption (MJ/month) | Cooling Primary Energy Consumption (MJ/month) | DHW Primary Energy Consumption (MJ/month) | Lighting Primary Energy Consumption (MJ/month) | Appliances Primary Energy Consumption (MJ/month)
January | 56819.6834 | 0 | 1586.0592 | 1107.072 | 959.76 |  | 71024.6043 | 0 | 1982.574 | 3163.0629 | 2742.1714
February | 49806.5978 | 0 | 1432.5696 | 999.936 | 866.88 |  | 62258.2473 | 0 | 1790.712 | 2856.96 | 2476.8
March | 48713.2877 | 0 | 1554.96 | 1107.072 | 959.76 |  | 60891.6096 | 0 | 1943.7 | 3163.0629 | 2742.1714
April | 39572.1763 | 0 | 1444.608 | 1071.36 | 928.8 |  | 49465.2203 | 0 | 1805.76 | 3061.0286 | 2653.7143
May | 28356.7654 | 0 | 1430.5632 | 1107.072 | 959.76 |  | 35445.9567 | 0 | 1788.204 | 3163.0629 | 2742.1714
June | 16030.7337 | 0 | 1324.224 | 1071.36 | 928.8 |  | 20038.4172 | 0 | 1655.28 | 3061.0286 | 2653.7143
July | 8279.2571 | 0 | 1306.1664 | 1107.072 | 959.76 |  | 10349.0713 | 0 | 1632.708 | 3163.0629 | 2742.1714
August | 9487.9501 | 0 | 1337.2656 | 1107.072 | 959.76 |  | 11859.9376 | 0 | 1671.582 | 3163.0629 | 2742.1714
September | 18796.9556 | 0 | 1324.224 | 1071.36 | 928.8 |  | 23496.1945 | 0 | 1655.28 | 3061.0286 | 2653.7143
October | 32702.4413 | 0 | 1399.464 | 1107.072 | 959.76 |  | 40878.0516 | 0 | 1749.33 | 3163.0629 | 2742.1714
November | 44692.6315 | 0 | 1414.512 | 1071.36 | 928.8 |  | 55865.7894 | 0 | 1768.14 | 3061.0286 | 2653.7143
December | 54365.8507 | 0 | 1492.7616 | 1107.072 | 959.76 |  | 67957.3133 | 0 | 1865.952 | 3163.0629 | 2742.1714
Total | 407624.3307 | 0 | 17047.3776 | 13034.88 | 11300.4 | Total | 509530.4133 | 0 | 21309.222 | 37242.5143 | 32286.8571
After Retrofit | [5 empty] | After Retrofit
Month | Heating Demand (MJ/month) | Cooling Demand (MJ/month) | DHW Demand (MJ/month) | Lighting Demand (MJ/month) | Appliances Demand (MJ/month) | Month | Heating Primary Energy Consumption (MJ/month) | Cooling Primary Energy Consumption (MJ/month) | DHW Primary Energy Consumption (MJ/month) | Lighting Primary Energy Consumption (MJ/month) | Appliances Primary Energy Consumption (MJ/month)
January | 10073.7618 | 0 | 1586.0592 | 51.336 | 645.2712 |  | 6369.9628 | 0 | 1002.9161 | 129.8456 | 1632.1027
February | 8262.8723 | 0 | 1432.5696 | 46.368 | 582.8256 |  | 5224.8793 | 0 | 905.8597 | 117.2799 | 1474.1573
March | 7060.3227 | 0 | 1554.96 | 51.336 | 645.2712 |  | 4464.4686 | 0 | 983.2511 | 129.8456 | 1632.1027
April | 4356.6333 | 0 | 1444.608 | 49.68 | 624.456 |  | 2754.839 | 0 | 913.472 | 125.657 | 1579.4543
May | 846.1064 | 0 | 1430.5632 | 51.336 | 645.2712 |  | 535.0202 | 0 | 904.591 | 129.8456 | 1632.1027
June | 0 | 0 | 1324.224 | 49.68 | 624.456 |  | 0 | 0 | 837.3493 | 125.657 | 1579.4543
July | 0 | 0 | 1306.1664 | 51.336 | 645.2712 |  | 0 | 0 | 825.9309 | 129.8456 | 1632.1027
August | 0 | 0 | 1337.2656 | 51.336 | 645.2712 |  | 0 | 0 | 845.5959 | 129.8456 | 1632.1027
September | 589.902 | 0 | 1324.224 | 49.68 | 624.456 |  | 373.014 | 0 | 837.3493 | 125.657 | 1579.4543
October | 4285.0253 | 0 | 1399.464 | 51.336 | 645.2712 |  | 2709.559 | 0 | 884.926 | 129.8456 | 1632.1027
November | 7448.158 | 0 | 1414.512 | 49.68 | 624.456 |  | 4709.7093 | 0 | 894.4413 | 125.657 | 1579.4543
December | 9661.792 | 0 | 1492.7616 | 51.336 | 645.2712 |  | 6109.4611 | 0 | 943.9211 | 129.8456 | 1632.1027
Total | 52584.5736 | 0 | 17047.3776 | 604.44 | 7597.548 | Total | 33250.9131 | 0 | 10779.6038 | 1528.8272 | 19216.6935
Month | Solar Collectors Generation (MJ/month) | Solar PV Generation (MJ/month)
January | 0 | 57.4054
February | 0 | 116.4351 |  | f_grid | 88.53%
March | 0 | 220.5575 |  | f_pv | 11.47%
April | 0 | 323.5753
May | 0 | 461.2572
June | 0 | 444.4287
July | 0 | 434.0652 | [7 empty] | Demand | Heating | Cooling | DHW | Lighting | Appliances
August | 0 | 370.6172 | [7 empty] | Before Retrofit | 407624.3307 | 0 | 17047.3776 | 13034.88 | 11300.4
September | 0 | 247.5546 | [7 empty] | After Retrofit | 52584.5736 | 0 | 17047.3776 | 604.44 | 7597.548
October | 0 | 146.0312
November | 0 | 72.1222 | [7 empty] | Consumption | Heating | Cooling | DHW | Lighting | Appliances
December | 0 | 44.3129 | [7 empty] | Before Retrofit | 509530.4133 | 0 | 21309.222 | 37242.5143 | 32286.8571
Total | 0 | 2938.3626 | [7 empty] | After Retrofit | 33250.9131 | 0 | 10779.6038 | 1528.8272 | 19216.6935